## Sheet1
Measurement id | name | Measurement target | unit_by manufacturer | datatype | description_by_manufacturer | device model
6001 | PM3255_HKASJK0101_I1 | transformer | A | float | I1: phase 1 current | Schneider PM3255
6002 | PM3255_HKASJK0101_I2 | transformer | A | float | I2: phase 2 current | Schneider PM3255
6003 | PM3255_HKASJK0101_I3 | transformer | A | float | I3: phase 3 current | Schneider PM3255
6004 | PM3255_HKASJK0101_U12 | transformer | V | float | Voltage L1-L2 | Schneider PM3255
6005 | PM3255_HKASJK0101_U23 | transformer | V | float | Voltage L2-L3 | Schneider PM3255
6006 | PM3255_HKASJK0101_U31 | transformer | V | float | Voltage L3-L1 | Schneider PM3255
6007 | PM3255_HKASJK0101_U1 | transformer | V | float | Voltage L1-N | Schneider PM3255
6008 | PM3255_HKASJK0101_U2 | transformer | V | float | Voltage L2-N | Schneider PM3255
6009 | PM3255_HKASJK0101_U3 | transformer | V | float | Voltage L3-N | Schneider PM3255
6010 | PM3255_HKASJK0101_P1 | transformer | kW | float | Active Power Phase 1 | Schneider PM3255
6011 | PM3255_HKASJK0101_P2 | transformer | kW | float | Active Power Phase 2 | Schneider PM3255
6012 | PM3255_HKASJK0101_P3 | transformer | kW | float | Active Power Phase 3 | Schneider PM3255
6013 | PM3255_HKASJK0101_Ptot | transformer | kW | float | Total Active Power | Schneider PM3255
6014 | PM3255_HKASJK0101_Q1 | transformer | kVAR | float | Reactive Power Phase 1 | Schneider PM3255
6015 | PM3255_HKASJK0101_Q2 | transformer | kVAR | float | Reactive Power Phase 2 | Schneider PM3255
6016 | PM3255_HKASJK0101_Q3 | transformer | kVAR | float | Reactive Power Phase 3 | Schneider PM3255
6017 | PM3255_HKASJK0101_Qtot | transformer | kVAR | float | Total Reactive Power | Schneider PM3255
6018 | PM3255_HKASJK0101_S1 | transformer | kVA | float | Apparent Power Phase 1 | Schneider PM3255
6019 | PM3255_HKASJK0101_S2 | transformer | kVA | float | Apparent Power Phase 2 | Schneider PM3255
6020 | PM3255_HKASJK0101_S3 | transformer | kVA | float | Apparent Power Phase 3 | Schneider PM3255
6021 | PM3255_HKASJK0101_Stot | transformer | kVA | float | Total Apparent Power | Schneider PM3255
6022 | PM3255_HKASJK0101_PF1 | transformer | null | float | Power Factor Phase 1 (Complex format) | Schneider PM3255
6023 | PM3255_HKASJK0101_PF2 | transformer | null | float | Power Factor Phase 2 (Complex format) | Schneider PM3255
6024 | PM3255_HKASJK0101_PF3 | transformer | null | float | Power Factor Phase 3 (Complex format) | Schneider PM3255
6025 | PM3255_HKASJK0101_PFtot | transformer | null | float | Power Factor Total | Schneider PM3255
6026 | PM3255_HKASJK0101_TanPhi | transformer | null | float | Tangent Phi, Total (Reactive Factor) | Schneider PM3255
6027 | PM3255_HKASJK0101_Freq | transformer | Hz | float | Frequency | Schneider PM3255
6028 | PM3255_HKASJK0101_EPtot_imp | transformer | Wh | int | Total Active Energy Import | Schneider PM3255
6029 | PM3255_HKASJK0101_EPtot_exp | transformer | Wh | int | Total Active Energy Export | Schneider PM3255
6030 | PM3255_HKASJK0101_EQtot_imp | transformer | VARh | int | Total Reactive Energy Import | Schneider PM3255
6031 | PM3255_HKASJK0101_EQtot_exp | transformer | VARh | int | Total Reactive Energy Export | Schneider PM3255
6032 | PM3255_HKASJK0101_EStot_imp | transformer | VAh | int | Total Apparent Energy Import | Schneider PM3255
6033 | PM3255_HKASJK0101_EStot_exp | transformer | VAh | int | Total Apparent Energy Export | Schneider PM3255
6034 | PM3255_HKASJK0101_EPL1_imp | transformer | Wh | int | Active Energy Import Phase 1 | Schneider PM3255
6035 | PM3255_HKASJK0101_EPL2_imp | transformer | Wh | int | Active Energy Import Phase 2 | Schneider PM3255
6036 | PM3255_HKASJK0101_EPL3_imp | transformer | Wh | int | Active Energy Import Phase 3 | Schneider PM3255
6037 | PM3255_HKASJK0101_EQL1_imp | transformer | VARh | int | Reactive Energy Import Phase 1 | Schneider PM3255
6038 | PM3255_HKASJK0101_EQL2_imp | transformer | VARh | int | Reactive Energy Import Phase 2 | Schneider PM3255
6039 | PM3255_HKASJK0101_EQL3_imp | transformer | VARh | int | Reactive Energy Import Phase 3 | Schneider PM3255
6040 | PM3255_HKASJK0101_ESL1_imp | transformer | VAh | int | Apparent Energy Import Phase 1 | Schneider PM3255
6041 | PM3255_HKASJK0101_ESL2_plus | transformer | VAh | int | Apparent Energy Import Phase 2 | Schneider PM3255
6042 | PM3255_HKASJK0101_ESL3_imp | transformer | VAh | int | Apparent Energy Import Phase 3 | Schneider PM3255
6043 | PM3255_HKASJK0101_THDI1 | transformer | % | float | THD Current I1 | Schneider PM3255
6044 | PM3255_HKASJK0101_THDI2 | transformer | % | float | THD Current I2 | Schneider PM3255
6045 | PM3255_HKASJK0101_THDI3 | transformer | % | float | THD Current I3 | Schneider PM3255
6049 | PM3255_HKASJK0101_THDU12 | transformer | % | float | THD Voltage L1-L2 | Schneider PM3255
6050 | PM3255_HKASJK0101_THDU23 | transformer | % | float | THD Voltage L2-L3 | Schneider PM3255
6051 | PM3255_HKASJK0101_THDU31 | transformer | % | float | THD Voltage L3-L1 | Schneider PM3255
6046 | PM3255_HKASJK0101_THDU1 | transformer | % | float | THD Voltage L1-N | Schneider PM3255
6047 | PM3255_HKASJK0101_THDU2 | transformer | % | float | THD Voltage L2-N | Schneider PM3255
6048 | PM3255_HKASJK0101_THDU3 | transformer | % | float | THD Voltage L3-N | Schneider PM3255
6101 | PM820_HKAPK0100_I1 | tenants | A | integer | Current, Phase A | Schneider PM820
6102 | PM820_HKAPK0100_I2 | tenants | A | integer | Current, Phase B | Schneider PM820
6103 | PM820_HKAPK0100_I3 | tenants | A | integer | Current, Phase C | Schneider PM820
6104 | PM820_HKAPK0100_IN | tenants | A | integer | Current, Neutral | Schneider PM820
6105 | PM820_HKAPK0100_U12 | tenants | V | integer | Voltage, A-B | Schneider PM820
6106 | PM820_HKAPK0100_U23 | tenants | V | integer | Voltage, B-C | Schneider PM820
6107 | PM820_HKAPK0100_U31 | tenants | V | integer | Voltage, C-A | Schneider PM820
6108 | PM820_HKAPK0100_U1 | tenants | V | integer | Voltage, A-N | Schneider PM820
6109 | PM820_HKAPK0100_U2 | tenants | V | integer | Voltage, B-N | Schneider PM820
6110 | PM820_HKAPK0100_U3 | tenants | V | integer | Voltage, C-N | Schneider PM820
6111 | PM820_HKAPK0100_UN | tenants | V | integer | Voltage, N-R | Schneider PM820
6112 | PM820_HKAPK0100_P1 | tenants | kW | integer | Real Power, Phase A | Schneider PM820
6113 | PM820_HKAPK0100_P2 | tenants | kW | integer | Real Power, Phase B | Schneider PM820
6114 | PM820_HKAPK0100_P3 | tenants | kW | integer | Real Power, Phase C | Schneider PM820
6115 | PM820_HKAPK0100_Ptot | tenants | kW | integer | Real Power, Total | Schneider PM820
6116 | PM820_HKAPK0100_Q1 | tenants | kVAr | integer | Reactive Power, Phase A | Schneider PM820
6117 | PM820_HKAPK0100_Q2 | tenants | kVAr | integer | Reactive Power, Phase B | Schneider PM820
6118 | PM820_HKAPK0100_Q3 | tenants | kVAr | integer | Reactive Power, Phase C | Schneider PM820
6119 | PM820_HKAPK0100_Qtot | tenants | kVAr | integer | Reactive Power, Total | Schneider PM820
6120 | PM820_HKAPK0100_S1 | tenants | kVA | integer | Apparent Power, Phase A | Schneider PM820
6121 | PM820_HKAPK0100_S2 | tenants | kVA | integer | Apparent Power, Phase B | Schneider PM820
6122 | PM820_HKAPK0100_S3 | tenants | kVA | integer | Apparent Power, Phase C | Schneider PM820
6123 | PM820_HKAPK0100_Stot | tenants | kVA | integer | Apparent Power, Total | Schneider PM820
6124 | PM820_HKAPK0100_TPF1 | tenants | null | float | True Power Factor, Phase A | Schneider PM820
6125 | PM820_HKAPK0100_TPF2 | tenants | null | float | True Power Factor, Phase B | Schneider PM820
6126 | PM820_HKAPK0100_TPF3 | tenants | null | float | True Power Factor, Phase C | Schneider PM820
6127 | PM820_HKAPK0100_TPFtot | tenants | null | float | True Power Factor, Total | Schneider PM820
6128 | PM820_HKAPK0100_DPF1 | tenants | null | float | Displacement Power Factor, Phase A | Schneider PM820
6129 | PM820_HKAPK0100_DPF2 | tenants | null | float | Displacement Power Factor, Phase B | Schneider PM820
6130 | PM820_HKAPK0100_DPF3 | tenants | null | float | Displacement Power Factor, Phase C | Schneider PM820
6131 | PM820_HKAPK0100_DPFtot | tenants | null | float | Displacement Power Factor, Total | Schneider PM820
6132 | PM820_HKAPK0100_Freq | tenants | Hz | float | Frequency | Schneider PM820
6133 | PM820_HKAPK0100_THDI1 | tenants | % | float | THD/thd Current, Phase A | Schneider PM820
6134 | PM820_HKAPK0100_THDI2 | tenants | % | float | THD/thd Current, Phase B | Schneider PM820
6135 | PM820_HKAPK0100_THDI3 | tenants | % | float | THD/thd Current, Phase C | Schneider PM820
6136 | PM820_HKAPK0100_THDIN | tenants | % | float | THD/thd Current, Phase N | Schneider PM820
6137 | PM820_HKAPK0100_THDU1 | tenants | % | float | THD/thd Voltage, Phase A-N | Schneider PM820
6138 | PM820_HKAPK0100_THDU2 | tenants | % | float | THD/thd Voltage, Phase B-N | Schneider PM820
6139 | PM820_HKAPK0100_THDU3 | tenants | % | float | THD/thd Voltage, Phase C-N | Schneider PM820
6164 | PM820_HKAPK0100_THDU12 | tenants | % | float | THD/thd Voltage, Phase A-B | Schneider PM820
6165 | PM820_HKAPK0100_THDU23 | tenants | % | float | THD/thd Voltage, Phase B-C | Schneider PM820
6166 | PM820_HKAPK0100_THDU31 | tenants | % | float | THD/thd Voltage, Phase C-A | Schneider PM820
6140 | PM820_HKAPK0100_I1H1mag | tenants | A | int | Current Fundamental RMS, Magnitude, Phase A | Schneider PM820
6141 | PM820_HKAPK0100_I2H1mag | tenants | A | int | Current Fundamental RMS, Magnitude, Phase B | Schneider PM820
6142 | PM820_HKAPK0100_I3H1mag | tenants | A | int | Current Fundamental RMS, Magnitude, Phase C | Schneider PM820
6143 | PM820_HKAPK0100_INH1mag | tenants | A | int | Current Fundamental RMS, Magnitude, Neutral | Schneider PM820
6144 | PM820_HKAPK0100_U1H1mag | tenants | V | int | Voltage Fundamental RMS, Magnitude, A-N/A-B | Schneider PM820
6145 | PM820_HKAPK0100_U2H1mag | tenants | V | int | Voltage Fundamental RMS, Magnitude, B-N/B-C | Schneider PM820
6146 | PM820_HKAPK0100_U3H1mag | tenants | V | int | Voltage Fundamental RMS, Magnitude, C-N/C-A | Schneider PM820
6147 | PM820_HKAPK0100_EPtot_in | tenants | WH | integer | Energy, Real In | Schneider PM820
6148 | PM820_HKAPK0100_EQtot_in | tenants | VArH | integer | Energy, Reactive In | Schneider PM820
6149 | PM820_HKAPK0100_EPtot_out | tenants | WH | integer | Energy, Real Out | Schneider PM820
6150 | PM820_HKAPK0100_EQtot_out | tenants | VArH | integer | Energy, Reactive Out | Schneider PM820
6151 | PM820_HKAPK0100_EPtot | tenants | WH | integer | Energy, Real Total (signed/absolute) | Schneider PM820
6152 | PM820_HKAPK0100_EQtot | tenants | VArH | integer | Energy, Reactive Total (signed/absolute) | Schneider PM820
6153 | PM820_HKAPK0100_EStot | tenants | VAH | integer | Energy, Apparent | Schneider PM820
6154 | PM820_HKAPK0100_EPtot_in_IncLast | tenants | WH | integer | Energy, Incremental Real In, Last Complete Interval | Schneider PM820
6155 | PM820_HKAPK0100_EQtot_in_IncLast | tenants | VArH | integer | Energy, Incremental Reactive In, Last Complete Interval | Schneider PM820
6156 | PM820_HKAPK0100_EPtot_out_IncLast | tenants | WH | integer | Energy, Incremental Real Out, Last Complete Interval | Schneider PM820
6157 | PM820_HKAPK0100_EQtot_out_IncLast | tenants | VArH | integer | Energy, Incremental Reactive Out, Last Complete Interval | Schneider PM820
6158 | PM820_HKAPK0100_EStot_IncLast | tenants | VAH | integer | Energy, Incremental Apparent, Last Complete Interval | Schneider PM820
6159 | PM820_HKAPK0100_EPtot_in_IncPresent | tenants | WH | integer | Energy, Incremental Real In, Present Interval | Schneider PM820
6160 | PM820_HKAPK0100_EQtot_in_IncPresent | tenants | VArH | integer | Energy, Incremental Reactive In, Present Interval | Schneider PM820
6161 | PM820_HKAPK0100_EPtot_out_IncPresent | tenants | WH | integer | Energy, Incremental Real Out, Present Interval | Schneider PM820
6162 | PM820_HKAPK0100_EQtot_out_IncPresent | tenants | VArH | integer | Energy, Incremental Reactive Out, Present Interval | Schneider PM820
6163 | PM820_HKAPK0100_EStot_IncPresent | tenants | VAH | integer | Energy, Incremental Apparent, Present Interval | Schneider PM820
6201 | PM820_HKAPK0200_I1 | building maintenance | A | integer | Current, Phase A | Schneider PM820
6202 | PM820_HKAPK0200_I2 | building maintenance | A | integer | Current, Phase B | Schneider PM820
6203 | PM820_HKAPK0200_I3 | building maintenance | A | integer | Current, Phase C | Schneider PM820
6204 | PM820_HKAPK0200_IN | building maintenance | A | integer | Current, Neutral | Schneider PM820
6205 | PM820_HKAPK0200_U12 | building maintenance | V | integer | Voltage, A-B | Schneider PM820
6206 | PM820_HKAPK0200_U23 | building maintenance | V | integer | Voltage, B-C | Schneider PM820
6207 | PM820_HKAPK0200_U31 | building maintenance | V | integer | Voltage, C-A | Schneider PM820
6208 | PM820_HKAPK0200_U1 | building maintenance | V | integer | Voltage, A-N | Schneider PM820
6209 | PM820_HKAPK0200_U2 | building maintenance | V | integer | Voltage, B-N | Schneider PM820
6210 | PM820_HKAPK0200_U3 | building maintenance | V | integer | Voltage, C-N | Schneider PM820
6211 | PM820_HKAPK0200_UN | building maintenance | V | integer | Voltage, N-R | Schneider PM820
6212 | PM820_HKAPK0200_P1 | building maintenance | kW | integer | Real Power, Phase A | Schneider PM820
6213 | PM820_HKAPK0200_P2 | building maintenance | kW | integer | Real Power, Phase B | Schneider PM820
6214 | PM820_HKAPK0200_P3 | building maintenance | kW | integer | Real Power, Phase C | Schneider PM820
6215 | PM820_HKAPK0200_Ptot | building maintenance | kW | integer | Real Power, Total | Schneider PM820
6216 | PM820_HKAPK0200_Q1 | building maintenance | kVAr | integer | Reactive Power, Phase A | Schneider PM820
6217 | PM820_HKAPK0200_Q2 | building maintenance | kVAr | integer | Reactive Power, Phase B | Schneider PM820
6218 | PM820_HKAPK0200_Q3 | building maintenance | kVAr | integer | Reactive Power, Phase C | Schneider PM820
6219 | PM820_HKAPK0200_Qtot | building maintenance | kVAr | integer | Reactive Power, Total | Schneider PM820
6220 | PM820_HKAPK0200_S1 | building maintenance | kVA | integer | Apparent Power, Phase A | Schneider PM820
6221 | PM820_HKAPK0200_S2 | building maintenance | kVA | integer | Apparent Power, Phase B | Schneider PM820
6222 | PM820_HKAPK0200_S3 | building maintenance | kVA | integer | Apparent Power, Phase C | Schneider PM820
6223 | PM820_HKAPK0200_Stot | building maintenance | kVA | integer | Apparent Power, Total | Schneider PM820
6224 | PM820_HKAPK0200_TPF1 | building maintenance | null | float | True Power Factor, Phase A | Schneider PM820
6225 | PM820_HKAPK0200_TPF2 | building maintenance | null | float | True Power Factor, Phase B | Schneider PM820
6226 | PM820_HKAPK0200_TPF3 | building maintenance | null | float | True Power Factor, Phase C | Schneider PM820
6227 | PM820_HKAPK0200_TPFtot | building maintenance | null | float | True Power Factor, Total | Schneider PM820
6228 | PM820_HKAPK0200_DPF1 | building maintenance | null | float | Displacement Power Factor, Phase A | Schneider PM820
6229 | PM820_HKAPK0200_DPF2 | building maintenance | null | float | Displacement Power Factor, Phase B | Schneider PM820
6230 | PM820_HKAPK0200_DPF3 | building maintenance | null | float | Displacement Power Factor, Phase C | Schneider PM820
6231 | PM820_HKAPK0200_DPFtot | building maintenance | null | float | Displacement Power Factor, Total | Schneider PM820
6232 | PM820_HKAPK0200_Freq | building maintenance | Hz | float | Frequency | Schneider PM820
6233 | PM820_HKAPK0200_THDI1 | building maintenance | % | float | THD/thd Current, Phase A | Schneider PM820
6234 | PM820_HKAPK0200_THDI2 | building maintenance | % | float | THD/thd Current, Phase B | Schneider PM820
6235 | PM820_HKAPK0200_THDI3 | building maintenance | % | float | THD/thd Current, Phase C | Schneider PM820
6236 | PM820_HKAPK0200_THDIN | building maintenance | % | float | THD/thd Current, Phase N | Schneider PM820
6237 | PM820_HKAPK0200_THDU1 | building maintenance | % | float | THD/thd Voltage, Phase A-N | Schneider PM820
6238 | PM820_HKAPK0200_THDU2 | building maintenance | % | float | THD/thd Voltage, Phase B-N | Schneider PM820
6239 | PM820_HKAPK0200_THDU3 | building maintenance | % | float | THD/thd Voltage, Phase C-N | Schneider PM820
6264 | PM820_HKAPK0200_THDU12 | building maintenance | % | float | THD/thd Voltage, Phase A-B | Schneider PM820
6265 | PM820_HKAPK0200_THDU23 | building maintenance | % | float | THD/thd Voltage, Phase B-C | Schneider PM820
6266 | PM820_HKAPK0200_THDU31 | building maintenance | % | float | THD/thd Voltage, Phase C-A | Schneider PM820
6240 | PM820_HKAPK0200_I1H1mag | building maintenance | A | int | Current Fundamental RMS, Magnitude, Phase A | Schneider PM820
6241 | PM820_HKAPK0200_I2H1mag | building maintenance | A | int | Current Fundamental RMS, Magnitude, Phase B | Schneider PM820
6242 | PM820_HKAPK0200_I3H1mag | building maintenance | A | int | Current Fundamental RMS, Magnitude, Phase C | Schneider PM820
6243 | PM820_HKAPK0200_INH1mag | building maintenance | A | int | Current Fundamental RMS, Magnitude, Neutral | Schneider PM820
6244 | PM820_HKAPK0200_U1H1mag | building maintenance | V | int | Voltage Fundamental RMS, Magnitude, A-N/A-B | Schneider PM820
6245 | PM820_HKAPK0200_U2H1mag | building maintenance | V | int | Voltage Fundamental RMS, Magnitude, B-N/B-C | Schneider PM820
6246 | PM820_HKAPK0200_U3H1mag | building maintenance | V | int | Voltage Fundamental RMS, Magnitude, C-N/C-A | Schneider PM820
6247 | PM820_HKAPK0200_EPtot_in | building maintenance | WH | integer | Energy, Real In | Schneider PM820
6248 | PM820_HKAPK0200_EQtot_in | building maintenance | VArH | integer | Energy, Reactive In | Schneider PM820
6249 | PM820_HKAPK0200_EPtot_out | building maintenance | WH | integer | Energy, Real Out | Schneider PM820
6250 | PM820_HKAPK0200_EQtot_out | building maintenance | VArH | integer | Energy, Reactive Out | Schneider PM820
6251 | PM820_HKAPK0200_EPtot | building maintenance | WH | integer | Energy, Real Total (signed/absolute) | Schneider PM820
6252 | PM820_HKAPK0200_EQtot | building maintenance | VArH | integer | Energy, Reactive Total (signed/absolute) | Schneider PM820
6253 | PM820_HKAPK0200_EStot | building maintenance | VAH | integer | Energy, Apparent | Schneider PM820
6254 | PM820_HKAPK0200_EPtot_in_IncLast | building maintenance | WH | integer | Energy, Incremental Real In, Last Complete Interval | Schneider PM820
6255 | PM820_HKAPK0200_EQtot_in_IncLast | building maintenance | VArH | integer | Energy, Incremental Reactive In, Last Complete Interval | Schneider PM820
6256 | PM820_HKAPK0200_EPtot_out_IncLast | building maintenance | WH | integer | Energy, Incremental Real Out, Last Complete Interval | Schneider PM820
6257 | PM820_HKAPK0200_EQtot_out_IncLast | building maintenance | VArH | integer | Energy, Incremental Reactive Out, Last Complete Interval | Schneider PM820
6258 | PM820_HKAPK0200_EStot_IncLast | building maintenance | VAH | integer | Energy, Incremental Apparent, Last Complete Interval | Schneider PM820
6259 | PM820_HKAPK0200_EPtot_in_IncPresent | building maintenance | WH | integer | Energy, Incremental Real In, Present Interval | Schneider PM820
6260 | PM820_HKAPK0200_EQtot_in_IncPresent | building maintenance | VArH | integer | Energy, Incremental Reactive In, Present Interval | Schneider PM820
6261 | PM820_HKAPK0200_EPtot_out_IncPresent | building maintenance | WH | integer | Energy, Incremental Real Out, Present Interval | Schneider PM820
6262 | PM820_HKAPK0200_EQtot_out_IncPresent | building maintenance | VArH | integer | Energy, Incremental Reactive Out, Present Interval | Schneider PM820
6263 | PM820_HKAPK0200_EStot_IncPresent | building maintenance | VAH | integer | Energy, Incremental Apparent, Present Interval | Schneider PM820