## Sheet1
Measurement id | Name | unit | description
24001 | freq | Hz | Solar PV power plant, Frequency
24002 | Qf | var | Solar PV power plant, Fryze's reactive power, 3-phase
24003 | P | W | Solar PV power plant, Active power, 3-phase
24004 | Q1 | var | Solar PV power plant, Fundamental reactive power, 3-phase
24005 | PL1 | W | Solar PV power plant, Active power L1
24006 | PL2 | W | Solar PV power plant, Active power L2
24007 | PL3 | W | Solar PV power plant, Active power L3
24008 | P1L1 | W | Solar PV power plant, Fundamental active power L1
24009 | P1L2 | W | Solar PV power plant, Fundamental active power L2
24010 | P1L3 | W | Solar PV power plant, Fundamental active power L3
24011 | QfL1 | var | Solar PV power plant, Fryze's reactive power L1
24012 | QfL2 | var | Solar PV power plant, Fryze's reactive power L2
24013 | QfL3 | var | Solar PV power plant, Fryse's reactive power L3
24014 | Q1L1 | var | Solar PV power plant, Fundamental reactive power L1
24015 | Q1L2 | var | Solar PV power plant, Fundamental reactive power L2
24016 | Q1L3 | var | Solar PV power plant, Fundamental reactive power L3
24017 | S | VA | Solar PV power plant, Apparent power, 3-phase
24018 | SL1 | VA | Solar PV power plant, Apparent power L1
24019 | SL2 | VA | Solar PV power plant, Apparent power L2
24020 | SL3 | VA | Solar PV power plant, Apparent power L3
24021 | S1L1 | VA | Solar PV power plant, Fundamental apparent power L1
24022 | S1L2 | VA | Solar PV power plant, Fundamental apparent power L2
24023 | S1L3 | VA | Solar PV power plant, Fundamental apparent power L3
24024 | UL1 | V | Solar PV power plant, ACrms L1
24025 | UL2 | V | Solar PV power plant, ACrms L2
24026 | UL3 | V | Solar PV power plant, ACrms L3
24027 | U12 | V | Solar PV power plant, ACrms L1-L2
24028 | U23 | V | Solar PV power plant, ACrms L2-L3
24029 | U31 | V | Solar PV power plant, ACrms L3-L1
24030 | IL1 | A | Solar PV power plant, ACrms L1
24031 | IL2 | A | Solar PV power plant, ACrms L2
24032 | IL3 | A | Solar PV power plant, ACrms L3
24033 | IN | A | Solar PV power plant, ACrms neutral current
24034 | TDUL1 | % | Solar PV power plant, Distortion, voltage L1
24035 | TDUL2 | % | Solar PV power plant, Distortion, voltage L2
24036 | TDUL3 | % | Solar PV power plant, Distortion, voltage L3
24037 | TDIL1 | % | Solar PV power plant, Distortion, current L1
24038 | TDIL2 | % | Solar PV power plant, Distortion, current L2
24039 | TDIL3 | % | Solar PV power plant, Distortion, current L3
24040 | U1L1 | V | Solar PV power plant, Fundamental peak voltage L1
24041 | U2L1 | % | Solar PV power plant, 2. harmonic voltage L1
24042 | U3L1 | % | Solar PV power plant, 3. harmonic voltage L1
24043 | U4L1 | % | Solar PV power plant, 4. harmonic voltage L1
24044 | U5L1 | % | Solar PV power plant, 5. harmonic voltage L1
24045 | U6L1 | % | Solar PV power plant, 6. harmonic voltage L1
24046 | U7L1 | % | Solar PV power plant, 7. harmonic voltage L1
24047 | U8L1 | % | Solar PV power plant, 8. harmonic voltage L1
24048 | U9L1 | % | Solar PV power plant, 9. harmonic voltage L1
24049 | U10L1 | % | Solar PV power plant, 10. harmonic voltage L1
24050 | U11L1 | % | Solar PV power plant, 11. harmonic voltage L1
24051 | U12L1 | % | Solar PV power plant, 12. harmonic voltage L1
24052 | U13L1 | % | Solar PV power plant, 13. harmonic voltage L1
24053 | U14L1 | % | Solar PV power plant, 14. harmonic voltage L1
24054 | U15L1 | % | Solar PV power plant, 15. harmonic voltage L1
24055 | U16L1 | % | Solar PV power plant, 16. harmonic voltage L1
24056 | U17L1 | % | Solar PV power plant, 17. harmonic voltage L1
24057 | U18L1 | % | Solar PV power plant, 18. harmonic voltage L1
24058 | U19L1 | % | Solar PV power plant, 19. harmonic voltage L1
24059 | U20L1 | % | Solar PV power plant, 20. harmonic voltage L1
24090 | U1L2 | V | Solar PV power plant, Fundamental peak voltage L2
24091 | U2L2 | % | Solar PV power plant, 2. harmonic voltage L2
24092 | U3L2 | % | Solar PV power plant, 3. harmonic voltage L2
24093 | U4L2 | % | Solar PV power plant, 4. harmonic voltage L2
24094 | U5L2 | % | Solar PV power plant, 5. harmonic voltage L2
24095 | U6L2 | % | Solar PV power plant, 6. harmonic voltage L2
24096 | U7L2 | % | Solar PV power plant, 7. harmonic voltage L2
24097 | U8L2 | % | Solar PV power plant, 8. harmonic voltage L2
24098 | U9L2 | % | Solar PV power plant, 9. harmonic voltage L2
24099 | U10L2 | % | Solar PV power plant, 10. harmonic voltage L2
24100 | U11L2 | % | Solar PV power plant, 11. harmonic voltage L2
24101 | U12L2 | % | Solar PV power plant, 12. harmonic voltage L2
24102 | U13L2 | % | Solar PV power plant, 13. harmonic voltage L2
24103 | U14L2 | % | Solar PV power plant, 14. harmonic voltage L2
24104 | U15L2 | % | Solar PV power plant, 15. harmonic voltage L2
24105 | U16L2 | % | Solar PV power plant, 16. harmonic voltage L2
24106 | U17L2 | % | Solar PV power plant, 17. harmonic voltage L2
24107 | U18L2 | % | Solar PV power plant, 18. harmonic voltage L2
24108 | U19L2 | % | Solar PV power plant, 19. harmonic voltage L2
24109 | U20L2 | % | Solar PV power plant, 20. harmonic voltage L2
24140 | U1L3 | V | Solar PV power plant, Fundamental peak voltage L3
24141 | U2L3 | % | Solar PV power plant, 2. harmonic voltage L3
24142 | U3L3 | % | Solar PV power plant, 3. harmonic voltage L3
24143 | U4L3 | % | Solar PV power plant, 4. harmonic voltage L3
24144 | U5L3 | % | Solar PV power plant, 5. harmonic voltage L3
24145 | U6L3 | % | Solar PV power plant, 6. harmonic voltage L3
24146 | U7L3 | % | Solar PV power plant, 7. harmonic voltage L3
24147 | U8L3 | % | Solar PV power plant, 8. harmonic voltage L3
24148 | U9L3 | % | Solar PV power plant, 9. harmonic voltage L3
24149 | U10L3 | % | Solar PV power plant, 10. harmonic voltage L3
24150 | U11L3 | % | Solar PV power plant, 11. harmonic voltage L3
24151 | U12L3 | % | Solar PV power plant, 12. harmonic voltage L3
24152 | U13L3 | % | Solar PV power plant, 13. harmonic voltage L3
24153 | U14L3 | % | Solar PV power plant, 14. harmonic voltage L3
24154 | U15L3 | % | Solar PV power plant, 15. harmonic voltage L3
24155 | U16L3 | % | Solar PV power plant, 16. harmonic voltage L3
24156 | U17L3 | % | Solar PV power plant, 17. harmonic voltage L3
24157 | U18L3 | % | Solar PV power plant, 18. harmonic voltage L3
24158 | U19L3 | % | Solar PV power plant, 19. harmonic voltage L3
24159 | U20L3 | % | Solar PV power plant, 20. harmonic voltage L3
24190 | I1L1 | A | Solar PV power plant, Fundamenta peak current L1
24191 | I2L1 | % | Solar PV power plant, 2. harmonic current L1
24192 | I3L1 | % | Solar PV power plant, 3. harmonic current L1
24193 | I4L1 | % | Solar PV power plant, 4. harmonic current L1
24194 | I5L1 | % | Solar PV power plant, 5. harmonic current L1
24195 | I6L1 | % | Solar PV power plant, 6. harmonic current L1
24196 | I7L1 | % | Solar PV power plant, 7. harmonic current L1
24197 | I8L1 | % | Solar PV power plant, 8. harmonic current L1
24198 | I9L1 | % | Solar PV power plant, 9. harmonic current L1
24199 | I10L1 | % | Solar PV power plant, 10. harmonic current L1
24200 | I11L1 | % | Solar PV power plant, 11. harmonic current L1
24201 | I12L1 | % | Solar PV power plant, 12. harmonic current L1
24202 | I13L1 | % | Solar PV power plant, 13. harmonic current L1
24203 | I14L1 | % | Solar PV power plant, 14. harmonic current L1
24204 | I15L1 | % | Solar PV power plant, 15. harmonic current L1
24205 | I16L1 | % | Solar PV power plant, 16. harmonic current L1
24206 | I17L1 | % | Solar PV power plant, 17. harmonic current L1
24207 | I18L1 | % | Solar PV power plant, 18. harmonic current L1
24208 | I19L1 | % | Solar PV power plant, 19. harmonic current L1
24209 | I20L1 | % | Solar PV power plant, 20. harmonic current L1
24240 | I1L2 | A | Solar PV power plant, Fundamenta peak current L2
24241 | I2L2 | % | Solar PV power plant, 2. harmonic current L2
24242 | I3L2 | % | Solar PV power plant, 3. harmonic current L2
24243 | I4L2 | % | Solar PV power plant, 4. harmonic current L2
24244 | I5L2 | % | Solar PV power plant, 5. harmonic current L2
24245 | I6L2 | % | Solar PV power plant, 6. harmonic current L2
24246 | I7L2 | % | Solar PV power plant, 7. harmonic current L2
24247 | I8L2 | % | Solar PV power plant, 8. harmonic current L2
24248 | I9L2 | % | Solar PV power plant, 9. harmonic current L2
24249 | I10L2 | % | Solar PV power plant, 10. harmonic current L2
24250 | I11L2 | % | Solar PV power plant, 11. harmonic current L2
24251 | I12L2 | % | Solar PV power plant, 12. harmonic current L2
24252 | I13L2 | % | Solar PV power plant, 13. harmonic current L2
24253 | I14L2 | % | Solar PV power plant, 14. harmonic current L2
24254 | I15L2 | % | Solar PV power plant, 15. harmonic current L2
24255 | I16L2 | % | Solar PV power plant, 16. harmonic current L2
24256 | I17L2 | % | Solar PV power plant, 17. harmonic current L2
24257 | I18L2 | % | Solar PV power plant, 18. harmonic current L2
24258 | I19L2 | % | Solar PV power plant, 19. harmonic current L2
24259 | I20L2 | % | Solar PV power plant, 20. harmonic current L2
24290 | I1L3 | A | Solar PV power plant, Fundamenta peak current L3
24291 | I2L3 | % | Solar PV power plant, 2. harmonic current L3
24292 | I3L3 | % | Solar PV power plant, 3. harmonic current L3
24293 | I4L3 | % | Solar PV power plant, 4. harmonic current L3
24294 | I5L3 | % | Solar PV power plant, 5. harmonic current L3
24295 | I6L3 | % | Solar PV power plant, 6. harmonic current L3
24296 | I7L3 | % | Solar PV power plant, 7. harmonic current L3
24297 | I8L3 | % | Solar PV power plant, 8. harmonic current L3
24298 | I9L3 | % | Solar PV power plant, 9. harmonic current L3
24299 | I10L3 | % | Solar PV power plant, 10. harmonic current L3
24300 | I11L3 | % | Solar PV power plant, 11. harmonic current L3
24301 | I12L3 | % | Solar PV power plant, 12. harmonic current L3
24302 | I13L3 | % | Solar PV power plant, 13. harmonic current L3
24303 | I14L3 | % | Solar PV power plant, 14. harmonic current L3
24304 | I15L3 | % | Solar PV power plant, 15. harmonic current L3
24305 | I16L3 | % | Solar PV power plant, 16. harmonic current L3
24306 | I17L3 | % | Solar PV power plant, 17. harmonic current L3
24307 | I18L3 | % | Solar PV power plant, 18. harmonic current L3
24308 | I19L3 | % | Solar PV power plant, 19. harmonic current L3
24309 | I20L3 | % | Solar PV power plant, 20. harmonic current L3
24340 | U2/U1 | % | Solar PV power plant, Negative-sequence component
24341 | U0/U1 | % | Solar PV power plant, Zero-sequence component
24342 | UdcL1 | V | Solar PV power plant, DC voltage L1
24343 | UdcL2 | V | Solar PV power plant, DC voltage L2
24344 | UdcL3 | V | Solar PV power plant, DC voltage L3
24353 | UdcL12 | V | Solar PV power plant, DC voltage L1-L2
24354 | UdcL23 | V | Solar PV power plant, DC voltage L2-L3
24355 | UdcL31 | V | Solar PV power plant, DC voltage L3-L1
24356 | PFL1 | NaN | Solar PV power plant, Power factor L1
24357 | PFL2 | NaN | Solar PV power plant, Power factor L2
24358 | PFL3 | NaN | Solar PV power plant, Power factor L3
24359 | DPFL1 | NaN | Solar PV power plant, Displacement power factor, cosϕ L1
24360 | DPFL2 | NaN | Solar PV power plant, Displacement power factor, cosϕ L2
24361 | DPFL3 | NaN | Solar PV power plant, Displacement power factor, cosϕ L3
24444 | EP+ | kWh | Solar PV power plant, Cumulative energy P+
24445 | EP- | kWh | Solar PV power plant, Cumulative energy P-
24446 | EQf+ | kvarh | Solar PV power plant, Cumulative energy Qf
24447 | EQf- | kvarh | Solar PV power plant, Cumulative energy Qf-
24448 | EQ1+ | kvarh | Solar PV power plant, Cumulative energy Q1+
24449 | EQ1- | kvarh | Solar PV power plant, Cumulative energy Q1-